## DEVICE_LIST
HMI_TAG | PLC_TAG | COMMENT | ACCESS_NAME | ALARM_GROUP | DEVICE_TYPE
device_1 | device_1 | Device #1 - | PLC | Group1 | Device Template
device_2 | device_2 | Device #2 - | PLC | Group1 | Device Template
device_3 | device_3 | Device #3 - | PLC | Group1 | Device Template

## MADE
HMI_TAG | PLC_TAG | COMMENT | ACCESS_NAME | ALARM_GROUP | DEVICE_TYPE
use this sheet to keep track of tags that have been made

## NEED TO MAKE
HMI_TAG | PLC_TAG | COMMENT | ACCESS_NAME | ALARM_GROUP | DEVICE_TYPE
use this sheet to stage tags that need to be made

## Device Template
:IODisc | Group | Comment | Logged | EventLogged | EventLoggingPriority | RetentiveValue | InitialDisc | OffMsg | OnMsg | AlarmState | AlarmPri | DConversion | AccessName | ItemUseTagname | ItemName | ReadOnly | AlarmComment | AlarmAckModel | DSCAlarmDisable | DSCAlarmInhibitor | SymbolicName
HMI_TAG_alarm_bit | ALARM_GROUP | COMMENT001 Alarm/Fault | No | No | 0 | No | Off | Off | On | On | 1 | Direct | ACCESS_NAME | No | PLC_TAG._alarm | Yes | COMMENT001 Alarm/Fault | 0 | 0
:IODisc | Group | Comment | Logged | EventLogged | EventLoggingPriority | RetentiveValue | InitialDisc | OffMsg | OnMsg | AlarmState | AlarmPri | DConversion | AccessName | ItemUseTagname | ItemName | ReadOnly | AlarmComment | AlarmAckModel | DSCAlarmDisable | DSCAlarmInhibitor | SymbolicName
HMI_TAG_status_bit | ALARM_GROUP | COMMENT001 Status Bit | No | No | 0 | No | Off | Off | On | None | 1 | Direct | ACCESS_NAME | Yes |  | Yes |  | 0 | 0
:IODisc | Group | Comment | Logged | EventLogged | EventLoggingPriority | RetentiveValue | InitialDisc | OffMsg | OnMsg | AlarmState | AlarmPri | DConversion | AccessName | ItemUseTagname | ItemName | ReadOnly | AlarmComment | AlarmAckModel | DSCAlarmDisable | DSCAlarmInhibitor | SymbolicName
HMI_TAG_command_bit | ALARM_GROUP | COMMENT001 Command Bit | No | No | 0 | No | Off | Off | On | None | 1 | Direct | ACCESS_NAME | Yes |  | No |  | 0 | 0
:IOMsg | Group | Comment | Logged | EventLogged | EventLoggingPriority | RetentiveValue | MaxLength | InitialMessage | AccessName | ItemUseTagname | ItemName | ReadOnly | AlarmComment | SymbolicName
HMI_TAG_string | ALARM_GROUP | COMMENT001 String/Message | Yes | No | 0 | No | 131 |  | ACCESS_NAME | Yes |  | Yes |  |  | No
:IOInt | Group | Comment | Logged | EventLogged | EventLoggingPriority | RetentiveValue | RetentiveAlarmParameters | AlarmValueDeadband | AlarmDevDeadband | EngUnits | InitialValue | MinEU | MaxEU | Deadband | LogDeadband | LoLoAlarmState | LoLoAlarmValue | LoLoAlarmPri | LoAlarmState | LoAlarmValue | LoAlarmPri | HiAlarmState | HiAlarmValue | HiAlarmPri | HiHiAlarmState | HiHiAlarmValue | HiHiAlarmPri | MinorDevAlarmState | MinorDevAlarmValue | MinorDevAlarmPri | MajorDevAlarmState | MajorDevAlarmValue | MajorDevAlarmPri | DevTarget | ROCAlarmState | ROCAlarmValue | ROCAlarmPri | ROCTimeBase | MinRaw | MaxRaw | Conversion | AccessName | ItemUseTagname | ItemName | ReadOnly | AlarmComment | AlarmAckModel | LoLoAlarmDisable | LoAlarmDisable | HiAlarmDisable | HiHiAlarmDisable | MinDevAlarmDisable | MajDevAlarmDisable | RocAlarmDisable | LoLoAlarmInhibitor | LoAlarmInhibitor | HiAlarmInhibitor | HiHiAlarmInhibitor | MinDevAlarmInhibitor | MajDevAlarmInhibitor | RocAlarmInhibitor | SymbolicName
HMI_TAG_integer | ALARM_GROUP | COMMENT001 Integer | No | No | 0 | No | No | 0 | 0 |  | 0 | -32768 | 32767 | 0 | 0 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | 0 | Off | 0 | 1 | Min | -32768 | 32767 | Linear | ACCESS_NAME | Yes |  | No |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | No
:IOReal | Group | Comment | Logged | EventLogged | EventLoggingPriority | RetentiveValue | RetentiveAlarmParameters | AlarmValueDeadband | AlarmDevDeadband | EngUnits | InitialValue | MinEU | MaxEU | Deadband | LogDeadband | LoLoAlarmState | LoLoAlarmValue | LoLoAlarmPri | LoAlarmState | LoAlarmValue | LoAlarmPri | HiAlarmState | HiAlarmValue | HiAlarmPri | HiHiAlarmState | HiHiAlarmValue | HiHiAlarmPri | MinorDevAlarmState | MinorDevAlarmValue | MinorDevAlarmPri | MajorDevAlarmState | MajorDevAlarmValue | MajorDevAlarmPri | DevTarget | ROCAlarmState | ROCAlarmValue | ROCAlarmPri | ROCTimeBase | MinRaw | MaxRaw | Conversion | AccessName | ItemUseTagname | ItemName | ReadOnly | AlarmComment | AlarmAckModel | LoLoAlarmDisable | LoAlarmDisable | HiAlarmDisable | HiHiAlarmDisable | MinDevAlarmDisable | MajDevAlarmDisable | RocAlarmDisable | LoLoAlarmInhibitor | LoAlarmInhibitor | HiAlarmInhibitor | HiHiAlarmInhibitor | MinDevAlarmInhibitor | MajDevAlarmInhibitor | RocAlarmInhibitor | SymbolicName
HMI_TAG_status_real | ALARM_GROUP | COMMENT001 Status Real (Feedback) | Yes | No | 0 | No | No | 0 | 0 | % | 0 | 0 | 100 | 0 | 0.1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | 0 | Off | 0 | 1 | Min | 0 | 100 | Linear | ACCESS_NAME | Yes |  | Yes |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
:IOReal | Group | Comment | Logged | EventLogged | EventLoggingPriority | RetentiveValue | RetentiveAlarmParameters | AlarmValueDeadband | AlarmDevDeadband | EngUnits | InitialValue | MinEU | MaxEU | Deadband | LogDeadband | LoLoAlarmState | LoLoAlarmValue | LoLoAlarmPri | LoAlarmState | LoAlarmValue | LoAlarmPri | HiAlarmState | HiAlarmValue | HiAlarmPri | HiHiAlarmState | HiHiAlarmValue | HiHiAlarmPri | MinorDevAlarmState | MinorDevAlarmValue | MinorDevAlarmPri | MajorDevAlarmState | MajorDevAlarmValue | MajorDevAlarmPri | DevTarget | ROCAlarmState | ROCAlarmValue | ROCAlarmPri | ROCTimeBase | MinRaw | MaxRaw | Conversion | AccessName | ItemUseTagname | ItemName | ReadOnly | AlarmComment | AlarmAckModel | LoLoAlarmDisable | LoAlarmDisable | HiAlarmDisable | HiHiAlarmDisable | MinDevAlarmDisable | MajDevAlarmDisable | RocAlarmDisable | LoLoAlarmInhibitor | LoAlarmInhibitor | HiAlarmInhibitor | HiHiAlarmInhibitor | MinDevAlarmInhibitor | MajDevAlarmInhibitor | RocAlarmInhibitor | SymbolicName
HMI_TAG_command_real | ALARM_GROUP | COMMENT001 Command Real (Setpoint) | No | No | 0 | No | No | 0 | 0 | mm | 0 | 0 | 1000 | 0 | 0.1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | Off | 0 | 1 | 0 | Off | 0 | 1 | Min | 0 | 1000 | Linear | ACCESS_NAME | Yes |  | No |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0